## Slide 1
Mooring equipment setup 9 June 2020
Setup in Winnipeg for deployment by DB
Wetlabs ECOtriplet
  Will switch out 1441 installed last January
  Installing 1442 at 1 sample each 10 min.
  Setup screen capture below
Alec PAR
  Set up two instruments 201012, 201284
  Start at 20609 14:12:00
  Record at 600 sec interval
HOBO oxygen meter
  Set up by CH
Alec CT
  Will redeploy 201295 without download or reset