# Platform Details

Platform Name: GL_LWH_M

Platform Type: Mooring

Deployment Activity

| Date | Activity | Location |
| --- | --- | --- |
| 2021-05-10 @ 12:30 pm | Deployed Mooring | Lake Waterhen |
| 2021-09-02 | Retrieved Mooring | Lake Waterhen |

Coordinates: 52.044533; -99.570777

# Deployment Details

## Chief Scientist name and contact information

Name:  David Barber

Current email: David.Barber@umanitoba.ca

Mailing address: 535 Wallace Building, 125 Dysart Road

Phone: 204-474-6981

## Deployment ID: GL_LWH_M_2021_05_10

## Project Name:  Manitoba Great Lakes Program

## Research Area: Manitoba, Lake Waterhen

## Related Files

- Deployed at 12:30 pm

- Calm winds

- Water clarity – very high

- orange float about 90 cm from the surface

[include link to supporting documents: science or cruise plan, cruise report, cruise track data and maps ]

# Instrument Details

Instrument ID: HOBO O2 sensor #20775991, MBGL 219/EQ

Instrument Name: HOBO O2 sensor

Instrument ID: Alec CT #1589, MBGL 10/EQ

Instrument Name: Alec CT

Instrument ID: WetLabs Ecotriplet #1442, MBGL 4/EQ

Instrument Name: WETLabs ECO Triplet sensor